## Slide 1: Estimation and Validation of Decision Thresholds for a Radiomics-Based Decision Support System
The University of Michigan Department of Radiology

## Slide 2
Dhanuj M. Gandikota
Lubomir Hadjiiski, Ph.D.
Kenny Cha, M.S.
Heang-Ping Chan, Ph.D.
Elaine M. Caoili, M.D.
Rich H. Cohan, M.D.
Alon Z. Weizer, M.D.
Ajjai Alva, Ph.D.
Chintana Paramagul, M.D
Jun Wei, Ph.D.
Chuan Zhou, Ph.D.

## Slide 3: Bladder Cancer
In 2019
  81,190 new cases
  17,240 estimated deaths
Clinical Staging Determines Diagnosis
    Physical Examination
    Bimanual Examination
    TURBT (transurethral resection of bladder tumor)
    Cross-Sectional Imaging
Diagnosis determines Neoadjuvant Chemotherapy
  Estimated 30% of patients are under/over-staged

## Slide 4: Objective
Pathological Staging Post-Cystectomy considered “Gold Standard”
Correct staging of bladder cancer is crucial for the decision of neoadjuvant chemotherapy treatment
The purpose of this study is to develop an objective decision support system that can use statistical modeling and machine learning to assist clinicians in making more accurate staging assessment.

## Slide 5: Urinary Bladder CT
Bladder
Bladder Cancer

## Slide 6: Bladder Lesion Segmentation
Auto-
Initialization
Cascaded
Level Set
Region of Interest
Automatic Segmentation
Auto-Initialized Cascaded Level Set (AI-CALS)
3D Gradient Magnitude
and Direction Images
3D Smoothing,
Region Growing

## Slide 7: Bladder Lesions Split Based on Stage
Clinically, stage T2 is an important decision threshold for neoadjuvant chemotherapy treatment
The bladder lesions were separated into two classes based on their pathological stage
Class 1: Stage < T2
Class 2: Stage ≥ T2

## Slide 8
AI-CALS segmentation of bladder lesion
Bladder Lesion Segmentation
Lesion on “best” CT slice
Lesion outline on “best” CT slice
3D Lesion outline
Stage T2

## Slide 9
AI-CALS segmentation of bladder lesion
Bladder Lesion Segmentation
Lesion on “best” CT slice
Lesion outline on “best” CT slice
3D Lesion outline
Stage T1

## Slide 10
AI-CALS segmentation of bladder lesion
Bladder Lesion Segmentation
Lesion on “best” CT slice
Lesion outline on “best” CT slice
3D Lesion outline
Stage T2

## Slide 11
AI-CALS segmentation of bladder lesion
Bladder Lesion Segmentation
Lesion on “best” CT slice
Lesion outline on “best” CT slice
3D Lesion outline
Stage T1

## Slide 12: Radiomic Descriptors
Descriptors automatically extracted from the computer segmented lesions:
- 26 radiomic features :
- Volume
- 17 gray level descriptors
- 8 shape descriptors

## Slide 13: Combined Stage Index (CSI)
Radiomic features merged into Combined Stage Index (CSI):
Combined Stage
Index (CSI)
Volume
Gray Level
Shape

## Slide 14: Combined Stage Index (CSI)
Radiomic features merged into Combined Stage Index (CSI):
Combined Stage
Index (CSI)
Volume
Gray Level
Shape
Feature
Selection

## Slide 15: Classification
Linear
Discriminant
Analysis
Neural
Network
Support
Vector
Machine
Random
Forest
Combined Stage
Index (CSI)
Kernel: Radial Gamma
Hidden Layers: 1
# Trees: 100
LDA
SVM
NN
RF

## Slide 16: Data Collection
IRB approved retrospective collection
Multi-slice CT scanning:
- Average in-plane resolution: 0.8 x 0.8 mm
- Slice thickness: 0.625 - 5 mm

## Slide 17: Data Sets
Training set of 84 bladder cancer lesions from 76 patients
  21 non-contrast cases
  55 Contrast–enhanced cases
Independent Testing set of 82 bladder cancer lesions from 80 patients
  27 non-contrast cases
  53 contrast–enhanced cases

## Slide 18: Training Set
84 bladder lesions were separated into two classes based on their pathological stage:
Partition 1
  22 cancers: stage < T2
  20 cancers: stage ≥ T2
2 fold cross-validation was used for classifier training
Partition 2
  21 cancers: stage < T2
  21 cancers: stage ≥ T2

## Slide 19
Training Set – Lesion Size
Average size
< T2: 26.4±17.3 mm
≥ T2: 45.6±19.1 mm
Average size
< T2: 27.3±10.8 mm
≥ T2: 40.6±17.3 mm
Partition 1
Partition 2

## Slide 20: Independent Test Set
82 bladder lesions:
  All lesions were staged as T2 or higher post-cystectomy
  All 80 patients underwent chemotherapy treatment
Independent test set for evaluation of generalizability of trained classifiers

## Slide 21: Evaluation Methods
Within Training set, 2 fold cross-validation was used based on Partition 1 and Partition 2
Trained on entire Training set and Tested on Independent Test Set

## Slide 22: Evaluation Methods
After training, we set Decision Thresholds that maximized Classification Accuracy (CA) through optimizing Specificity and Sensitivity using the training CSI scores
Decision Threshold was then applied to the Independent Test set
Classification accuracy:
(TP + TN)
(P + N)

## Slide 23
Results – Feature selection
Training Partition 1
  2 Gray Level features
  1 Shape feature
Entire Training Set
  Volume
  3 Gray Level features
  1 Shape feature
Training Partition 2
  Volume
  4 Gray Level features
  2 Shape feature
Notes: Need to edit actual features in lab

## Slide 24
Results – LDA
Combined Stage Index (CSI) - LDA
Test Accuracy
Partition 1 0.88
Independent 0.94
Test set
Partition 2 0.95
Training Accuracy
Partition 2 1
Entire Training Set 0.92
Partition 1 0.88

## Slide 25
Results – SVM
Combined Stage Index (CSI) - SVM
Test Accuracy
Partition 1 0.94
Independent 0.94
Test set
Partition 2 0.98
Training Accuracy
Partition 2 1
Entire Training Set 0.94
Partition 1 0.88

## Slide 26
Results – NN
Combined Stage Index (CSI) - NN
Test Accuracy
Partition 1 0.88
Independent 0.94
Test set
Partition 2 0.88
Training Accuracy
Partition 2 1
Entire Training Set 0.93
Partition 1 0.93

## Slide 27
Results – RF
Combined Stage Index (CSI) - RF
Test Accuracy
Partition 1 0.93
Independent 0.89
Test set
Partition 2 0.89
Training Accuracy
Partition 2 1
Entire Training Set 1
Partition 1 1

## Slide 28
Results – Compared
Classifier | Independent Test Set Accuracy
Linear Discriminant Analysis | 0.94
Support Vector Machine | 0.94
Neural Network | 0.94
Random Forest | 0.89

## Slide 29
Results - Examples
Lesion on “best” CT slice
AI-CALS lesion outline
Correctly Classified as Stage T2
LDA: 100
SVM: 43.7
BPNN: 100
RAF: 70.8
Normalized Scores

## Slide 30
Lesion on “best” CT slice
AI-CALS lesion outline
Correctly Classified as Stage T2
Results - Examples
LDA: 67.7
SVM: 91
BPNN: 96
RAF: 70.8
Normalized Scores

## Slide 31
Lesion on “best” CT slice
Pathologically Staged as T3 stage but Misclassified as <T2 stage cancer
AI-CALS lesion outline
LDA: 26.4
SVM: 19.5
BPNN: 23
RAF: 36.1
Results - Examples
Normalized Scores

## Slide 32: Conclusion
Volume, gray level features and a shape feature found to be useful radiomic descriptors for correct staging of bladder cancers.
Classifiers with properly selected decision thresholds show promise in assessing bladder cancer stage.

## Slide 33: Conclusion
Further work includes the collection of a larger data set and improvement in the predictive model accuracy through the inclusion of clinical and molecular data.

## Slide 34
Acknowledgments
This work is supported by NIH Grant
U01 CA179106.